Note S6 | QAOA details (Ising mapping, γ–β search, and sampling) for MXene EIS fitting

The discrete quantum branch uses QAOA to explore a quantized parameter space for the MXene EIS circuit while retaining physical feasibility through bounded decoding. The overall workflow is: (i) construct a local quadratic surrogate of the classical complex-domain objective around a baseline parameter set, (ii) discretize seven parameters using a fixed bit depth (3 bits/parameter), (iii) convert the resulting QUBO into an Ising Hamiltonian H(z), (iv) select near-optimal QAOA angles (γ,β) by a two-stage grid search, and (v) sample the optimized QAOA circuit with shots = 4096 and decode the best observed bitstring into θ for EIS overlay.

S6.1 From EIS objective to a local quadratic surrogate.

The fitting objective is the complex-domain sum of squares,

F(θ)=k=1NZmodelωk;θ-Zdataωk;θ2				(S22)

Because QAOA requires a discrete optimization target, we approximate FFF locally in a bounded coordinate u∈[0,1]7 (Note S3). Let u0 be the baseline point (classical fit) and define δu=u-u0. A second-order expansion yield

F(u)=F(u0)+g⊤δu+12δu⊤H δu					(S23)

where g and H are the gradient and Hessian in u-space, estimated via finite differences. This quadratic surrogate captures the dominant local curvature and parameter couplings and is sufficiently structured to convert into a binary quadratic form.

S6.2 3-bit discretization and trust-region decoding.

Each parameter is encoded by 3 bits (bi0,bi1,bi1), giving 8 discrete levels. We convert the 3-bit integer ki=bi0+2bi1+4bi2∈{0,…,7} into a normalized level si=ki/7∈[0,1]. To keep the surrogate valid and prevent large, unphysical jumps, we restrict the discrete search to a local trust region of width Δ around u0:

ui=clip (u0,i+Δ (2si-1), 0, 1)					(S24)

with Δ=0.08 in this study. The decoded u is then mapped to physical parameters θ using the bound rules of Table S1 (linear/log decoding). This makes the discrete QAOA output directly comparable to the continuous VQE/VQA and classical results.

S6.3 QUBO construction and Ising mapping.

Substituting the discretized u(b) into F(u) yields a quadratic polynomial in the binary variables:

Fu=b⊤Qb+q⊤b+const.						(S25)

This is a standard QUBO. To run QAOA, we convert it to an Ising form over spins zi∈{-1,+1} using bi=(1-zi)/2. The resulting Hamiltonian is

Hz=ihizi+i<jJijzizj+const					(S26)

where hi and Jij are computed analytically from Q and q. In this work the Ising instance has 21 spins (3 bits × 7 parameters) and is fully specified by the exported coefficient lists (hi,Jij).

S6.4 QAOA circuit, γ–β search, and refinement.

We use QAOA depth p=1 to maintain low circuit depth while capturing non-trivial correlations. The variational state is

∣ψ(γ,β)⟩=e-iβiXie-iγHZ|+⨂21					(S27)

where H(Z) is diagonal in the computational basis and Xi is the Pauli-X mixer. The expected energy is

E(γ,β)=⟨ψ(γ,β)∣H∣ψ(γ,β)⟩ 					(S28)

Angles are selected by a two-stage grid strategy: a coarse (γ,β) sweep over a 5×5 grid to locate the approximate basin, followed by a refined 9×9 window centered at the best coarse cell to sharpen the optimum. The final chosen (γ*,β*) is the minimum-energy grid point in the refined window and is reported along with the corresponding heatmaps (Fig. S6a-b).

S6.5 Sampling (shots = 4096) and best-shot decoding.

With (γ*,β*) fixed, the QAOA circuit is sampled with 4096 shots. Each measured bitstring corresponds to a discrete parameter level vector s, which is decoded to u using the trust-region rule above and then to θ via Table S1. We report the top-10 bitstring counts to assess concentration and multimodality; the “best-shot” solution is defined as the sampled bitstring with the lowest Ising energy and its decoded θ is used for the final Nyquist/Bode overlays (Fig. 3) and the SI summary table of decoded parameters and bitstring frequencies (Fig. S6). This procedure mirrors realistic hardware operation, where one obtains a distribution of candidate solutions from measurement rather than a single deterministic optimum.