Table S2B | Parameter distribution statistics across noise levels for MXene EIS inference. For the same noise-injection and multi-start refit protocol as Table S2A, this table reports parameter-wise distributions of the recovered θ at each noise level, including mean, standard deviation, coefficient of variation (CV%), median, and P5–P95 quantiles. These statistics quantify noise-driven drift, dispersion, and heteroscedastic sensitivity across parameters (including the CPE exponents α1,α2), and provide the distribution-level evidence used in the identifiability and robustness discussion.

| Noise (%) | Parameter | Mean | Std | CV (%) | Median | P5 | P95 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 0.00 | Rs | 1.065 | 0.3482 | 32.69 | 1.044 | 0.6662 | 1.508 |
| 0.00 | L | 1.950x10-7 | 4.229 x10-8 | 21.69 | 1.906 x10-7 | 1.442 x10-7 | 2.457 x10-7 |
| 0.00 | Rct | 17.48 | 4.386 | 25.08 | 16.33 | 12.55 | 22.74 |
| 0.00 | Q1 | 0.003278 | 7.980 x10-4 | 24.35 | 0.003355 | 0.002265 | 0.004135 |
| 0.00 | α1 | 0.8228 | 0.03089 | 3.75 | 0.8145 | 0.7874 | 0.862 |
| 0.00 | Q2 | 0.002111 | 2.772 x10-5 | 1.31 | 0.002116 | 0.002072 | 0.002139 |
| 0.00 | α2 | 0.9077 | 0.01615 | 1.78 | 0.9073 | 0.8885 | 0.9254 |
| 0.50 | Rs | 1.133 | 0.4397 | 38.81 | 1.16 | 0.6449 | 1.687 |
| 0.50 | L | 1.989 x10-7 | 3.085 x10-8 | 15.51 | 1.978 x10-7 | 1.652 x10-7 | 2.339 x10-7 |
| 0.50 | Rct | 19.53 | 5.601 | 28.68 | 19.73 | 12.39 | 26.26 |
| 0.50 | Q1 | 0.003469 | 9.675 x10-4 | 27.89 | 0.00314 | 0.002549 | 0.004689 |
| 0.50 | α1 | 0.8247 | 0.05065 | 6.14 | 0.8038 | 0.7784 | 0.8964 |
| 0.50 | Q2 | 0.002113 | 6.554 x10-5 | 3.10 | 0.002107 | 0.002029 | 0.002188 |
| 0.50 | α2 | 0.9154 | 0.03689 | 4.03 | 0.9159 | 0.8709 | 0.9612 |
| 1.00 | Rs | 1.204 | 0.3336 | 27.69 | 1.073 | 0.8701 | 1.635 |
| 1.00 | L | 2.127 x10-7 | 6.469 x10-8 | 30.41 | 1.979 x10-7 | 1.481 x10-7 | 2.927 x10-7 |
| 1.00 | Rct | 19.48 | 3.42 | 17.55 | 20.41 | 14.84 | 22.81 |
| 1.00 | Q1 | 0.003467 | 0.001224 | 35.31 | 0.003025 | 0.002495 | 0.005231 |
| 1.00 | α1 | 0.823 | 0.05583 | 6.78 | 0.8331 | 0.7439 | 0.8776 |
| 1.00 | Q2 | 0.002125 | 6.453 x10-5 | 3.04 | 0.002143 | 0.002034 | 0.002188 |
| 1.00 | α2 | 0.9139 | 0.02038 | 2.23 | 0.9163 | 0.889 | 0.9355 |
| 2.00 | Rs | 0.8799 | 0.1632 | 18.55 | 0.92 | 0.6465 | 1.04 |
| 2.00 | L | 1.779 x10-7 | 4.314 x10-8 | 24.25 | 1.604 x10-7 | 1.431 x10-7 | 2.410 x10-7 |
| 2.00 | Rct | 22.26 | 12.6 | 56.61 | 17.43 | 12.37 | 41.05 |
| 2.00 | Q1 | 0.003239 | 0.001018 | 31.44 | 0.003225 | 0.002028 | 0.004311 |
| 2.00 | α1 | 0.8598 | 0.04164 | 4.84 | 0.8745 | 0.8048 | 0.9007 |
| 2.00 | Q2 | 0.002158 | 7.696 x10-5 | 3.57 | 0.002152 | 0.002066 | 0.002254 |
| 2.00 | α2 | 0.9079 | 0.03206 | 3.53 | 0.9078 | 0.8694 | 0.9478 |
| 3.00 | Rs | 1.015 | 0.3394 | 33.44 | 0.9803 | 0.61 | 1.434 |
| 3.00 | L | 2.189 x10-7 | 5.604 x10-8 | 25.60 | 1.917 x10-7 | 1.729 x10-7 | 2.964 x10-7 |
| 3.00 | Rct | 19.72 | 2.559 | 12.98 | 18.74 | 17.48 | 23.04 |
| 3.00 | Q1 | 0.003089 | 9.982 x10-4 | 32.32 | 0.003039 | 0.002054 | 0.004437 |
| 3.00 | α1 | 0.8153 | 0.01957 | 2.40 | 0.8186 | 0.7885 | 0.8348 |
| 3.00 | Q2 | 0.002088 | 5.138 x10-5 | 2.46 | 0.002106 | 0.002018 | 0.002139 |
| 3.00 | α2 | 0.9273 | 0.02177 | 2.35 | 0.919 | 0.9089 | 0.9594 |
| 5.00 | Rs | 1.368 | 0.5745 | 42.01 | 1.494 | 0.6247 | 1.949 |
| 5.00 | L | 1.820 x10-7 | 3.285 x10-8 | 18.05 | 1.844 x10-7 | 1.407 x10-7 | 2.163 x10-7 |
| 5.00 | Rct | 20.56 | 3.148 | 15.32 | 20.23 | 16.97 | 24.13 |
| 5.00 | Q1 | 0.003564 | 0.00152 | 42.65 | 0.003686 | 0.001781 | 0.005169 |
| 5.00 | α1 | 0.8115 | 0.06823 | 8.41 | 0.8246 | 0.7153 | 0.8761 |
| 5.00 | Q2 | 0.002098 | 8.417 x10-5 | 4.01 | 0.002095 | 0.002003 | 0.00221 |
| 5.00 | α2 | 0.9197 | 0.03437 | 3.74 | 0.9228 | 0.8758 | 0.9613 |
| 8.00 | Rs | 1.404 | 0.488 | 34.76 | 1.325 | 0.9166 | 2.086 |
| 8.00 | L | 1.880 x10-7 | 2.556 x10-8 | 13.60 | 1.833 x10-7 | 1.636 x10-7 | 2.177 x10-7 |
| 8.00 | Rct | 21.51 | 5.499 | 25.56 | 20.4 | 15.78 | 28.92 |
| 8.00 | Q1 | 0.003377 | 6.307 x10-4 | 18.68 | 0.003315 | 0.002691 | 0.004119 |
| 8.00 | α1 | 0.8435 | 0.05029 | 5.96 | 0.8468 | 0.7842 | 0.8949 |
| 8.00 | Q2 | 0.002139 | 8.094 x10-5 | 3.78 | 0.002144 | 0.002032 | 0.00223 |
| 8.00 | α2 | 0.9166 | 0.02322 | 2.53 | 0.9099 | 0.8957 | 0.9503 |